SECTION 099123

INTERIOR PAINTING (CHPS)

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section includes surface preparation and the application of paint systems on interior substrates listed in Part 3, 3.6 Interior Painting Schedule.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Factory- or shop-applied primers applied as Work of other Sections must be coordinated with field-applied finish coats.  Review other Sections for factory- or shop-primed products and reference this Section for product requirements.

Section 01350 “Special Environmental Requirements” for special environmental, sustainable, and “green” building practices related to energy conservation and efficiency, indoor air quality, and resource efficiency.

Section 051200 "Structural Steel Framing" for shop priming of metal substrates with primers specified in this Section

Section 099113 "Exterior Painting" for surface preparation and the application of paint systems on exterior substrates.

Section 099300 "Staining and Transparent Finishing" for surface preparation and the application of wood stains and transparent finishes on interior wood substrates.

Section 099600 "High-Performance Coatings" for high-performance and special-use coatings.

DEFINITIONS

Definitions of gloss levels below are from "MPI Architectural Painting Specification Manual" (hereafter, "MPI Manual").

Retain terms that remain after this Section has been edited for a project.

Gloss Level 1:  Not more than 5 units at 60 degrees and 1 to 2 units at 85 degrees.

Gloss Level 2:  5 to 9 units at 60 degrees and 10 to 15 units at 85 degrees.

Gloss Level 3:  10 to 15 units at 60 degrees and 15 to 30 units at 85 degrees.

Gloss Level 4:  20 to 35 units at 60 degrees and 35 to 50 units at 85 degrees.

Gloss Level 5:  40 to 50 units at 60 degrees.

Gloss Level 6:  70 to 80 units at 60 degrees.

Gloss Level 7:  More than 80 units at 60 degrees.

Blocking:  Two painted surfaces sticking together such as a painted door sticking to a painted jamb.

Mildew Resistant: Certified products are specially formulated with microbicidal additives that resist mold, mildew and algae growth on the paint film and inhibit growth of bacterial odors.

CHPS:  Collaborative for High Performance Schools.  A national movement to improve student performance and the entire educational experience by building the best possible schools.  www.chps.net.

EG:  Ethylene Glycol.  Ethylene glycol is listed as a hazardous air pollutant (HAP) by the U.S. EPA.

PDCA:  Painting & Decorating Contractors of America.  www.pdca.org .

RAVOC:  Reactivity adjusted VOC.  "Reactivity" means the ability of a VOC to promote ozone formation

SSPC:  The Society for Protective Coatings publishes Scopes of SSPC Surface Preparation Standards and Specifications.  www.sspc.org .

Dunn-Edwards Conformance Chart: DE CONFORMANCE TABLE

ACTION SUBMITTALS

Product Data:  For each type of product.  Include preparation requirements and application instructions.

LEED v.4 Requirements:

"Product Data for Credit EQ 4.2" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS.  Coordinate with requirements for paints and coatings.

Interior paints and coatings must pass CDPH Standard Method V1.1 (also called Section 01350) emissions testing; and they must comply with the VOC content limits of the California ARB 2007 Suggested Control Measure for Architectural Coatings.

"Laboratory Test Reports for Credit IEQ 4.2" Subparagraph below applies to LEED for Schools.

Samples for Initial Selection:  For each type of topcoat product.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain "Samples for Verification" Paragraph below with or without above.

Samples for Verification:  For each type of paint system and in each color and gloss of topcoat.

Submit samples on rigid backing, no smaller than 7 inches X 10 inches (177 mm X 254 mm) or larger than 8.5 inches X 11 inches (216 mm X 280 mm).

Label each Sample for project, architect, general contractor, painting contractor, paint color name and number, paint brand name, "P" number if applicable, and application area.

Product List:  For each product indicated, include the following:

Cross-reference to paint system and locations of application areas.  Use same designations indicated on Drawings and in schedules.

VOC content.

MAINTENANCE MATERIAL SUBMITTALS

Furnish extra materials, [from the same product run,] that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Retain "Paint" Subparagraph below for projects that require only limited quantities of extra materials.  If necessary, replace percentage with a specific number of gallons (liters) or cases and include an expanded description of the quantity of each material and color.

Paint: Provide not less than 1 gal. (3.8 L) of each material and color applied.

QUALITY ASSURANCE

Mockups:  Apply mockups of each paint system indicated and each color and finish selected to verify preliminary selections made under Sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Architect will select one surface to represent surfaces and conditions for application of each paint system specified in Part 3.

Vertical and Horizontal Surfaces:  Provide samples of at least 100 sq. ft. (9 sq. m).

Other Items:  Architect will designate items or areas required.

Final approval of color selections will be based on mockups.

If preliminary color selections are not approved, apply additional mockups of additional colors selected by Architect at no added cost to Owner.

Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

DELIVERY, STORAGE, AND HANDLING

Store materials not in use in tightly covered containers in well-ventilated areas with ambient temperatures continuously maintained at not less than 45 deg F (7 deg C).

Maintain containers in clean condition, free of foreign materials and residue.

Remove rags and waste from storage areas daily.

If necessary, insert special requirements for fire protection, heating, ventilation, and other conditions for storage areas on-site.

FIELD CONDITIONS

Apply paints only when temperature of surfaces to be painted and ambient air temperatures are between 50 and 90 deg. F (10 and 32 deg. C).

Do not apply paints when relative humidity exceeds 85 percent; at temperatures less than 5 deg F (3 deg C) above the dew point; or to damp or wet surfaces.

Painting contractor should follow proper painting practices and exercise judgment based on his or her experience and project specific conditions as to when to proceed.

PRODUCTS

MANUFACTURERS

Basis-of-Design Product: Provide products listed from the Dunn-Edwards Corporation.

See lists of products currently approved by MPI in its "MPI Approved Products List," www.paintinfo.com.

PAINT, GENERAL

Material Compatibility:

Systems could fail if paints used for individual coats are incompatible.  MPI's paint systems match primers and topcoats and take compatibility into consideration.

Provide materials for use within each paint system that are compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

For each coat in a paint system, provide products recommended in writing by manufacturers of topcoat for use in paint system and on substrate indicated.

Retain the following for projects located within the South Coast Air Quality Management District (SCAQMD):

Retain option in "VOC Content" Paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit EQ 4.2; coordinate with products.

VOC Content:  Provide materials that comply with VOC limits of authorities having jurisdiction

Retain "Low-Emitting Materials" Paragraph below if required for CHPS (LEED for Schools).

Low-Emitting Materials:  Interior paints and coatings shall comply with the testing and product requirements of the California Department of Health Services "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers".

Colorants:  The use of colorants containing hazardous chemicals, such as ethylene glycol, is prohibited and zero VOC colorants should be used whenever possible.

Colors:  As selected by the Architect.

Indicate a percentage of surface area which will be painted with deep tones.

Paints in these articles are specified by reference to MPI paint categories and optional MPI numbers.  Note that each paint category below is unique within this Section and is identical to that used in the Interior Painting Schedule at the end of Part 3.

If retaining subsequent articles, first revise the Interior Painting Schedule; then retain, delete, and insert appropriate products in subsequent articles to correspond with paint systems specified in the Interior Painting Schedule.

SOURCE QUALITY CONTROL

Retain this article for large projects or critical coatings where additional control is needed.  Delete if tests are not required.

Testing of Paint Materials:  Owner reserves the right to invoke the following procedure:

Owner may engage the services of a qualified testing agency to sample paint materials.  Contractor will be notified in advance and may be present when samples are taken.  If paint materials have already been delivered to Project site, samples may be taken at Project site.  Samples will be identified, sealed, and certified by testing agency.

Testing agency will perform tests for compliance with product requirements.

Owner may direct Contractor to stop applying coatings if test results show materials being used do not comply with product requirements.  Contractor shall remove noncomplying paint materials from Project site, pay for testing, and repaint surfaces painted with rejected materials.  Contractor will comply with requirements to use compatible products and systems as described in Article 2.2. Contractor will be required to remove rejected materials from previously painted surfaces if, on repainting with complying materials, the two paints are incompatible.

EXECUTION

EXAMINATION

Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of the Work.

Maximum Moisture Content of Substrates:  When measured with an electronic moisture meter as follows:

Percentages in five subparagraphs below are based on "MPI Manual."

Concrete:  12 percent.

Masonry (Clay and CMU):  12 percent.

Wood:  15 percent.

Gypsum Board:  12 percent.

Plaster:  12 percent.

Gypsum Board Substrates:  Verify that finishing compound is sanded smooth.

Plaster Substrates:  Verify that plaster is fully cured, including pH testing to determine that alkalinity is within limits established by the manufacturer.

Spray-Textured Ceiling Substrates:  Verify that surfaces are dry.

Verify suitability of substrates, including surface conditions and compatibility with existing finishes and primers.

Proceed with coating application only after unsatisfactory conditions have been corrected.

Application of coating indicates acceptance of surfaces and conditions.

PREPARATION

For renovation projects, consult "MPI Maintenance Repainting Manual" and revise first paragraph below and paint systems specified in the Interior Painting Schedule.

Comply with manufacturer's written instructions.

Remove hardware, covers, plates, and similar items already in place that are removable and are not to be painted.  If removal is impractical or impossible because of size or weight of item, provide surface-applied protection before surface preparation and painting.

After completing painting operations, use workers skilled in the trades involved to reinstall items that were removed.  Remove surface-applied protection if any.

Clean substrates of substances that could impair bond of paints, including dust, dirt, oil, grease, and incompatible paints and encapsulants.

Coordination of shop-applied prime coats with topcoats is critical.

Remove incompatible primers and reprime substrate with compatible primers or apply tie coat as required to produce paint systems indicated.

Concrete Substrates:  Remove release agents, curing compounds, efflorescence, and chalk.  Do not paint surfaces if moisture content or alkalinity of surfaces to be painted exceeds that permitted in manufacturer's written instructions, including pH testing to determine that alkalinity is within limits established by the manufacturer.

Masonry Substrates:  Remove efflorescence and chalk.  Do not paint surfaces if moisture content or alkalinity of surfaces or mortar joints exceed that permitted in manufacturer's written instructions.

Retain "Steel Substrates" Paragraph below if steel is not shop primed or if shop primer is removed in the field.

Steel Substrates:  Remove rust, loose mill scale, and shop primer, if any.  Clean using methods recommended in writing by paint manufacturer.

Retain "Shop-Primed Steel Substrates" Paragraph below if primers are shop applied and are not removed in the field.

Shop Primed Steel Substrates:  Clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop priming to comply with SSPC-PA 1 for touching up shop primed surfaces.

Galvanized Metal Substrates:  Remove grease and oil residue from galvanized sheet metal fabricated from coil stock to produce clean, lightly etched surfaces that promote adhesion of subsequently applied paints.

Aluminum Substrates:  Remove loose surface oxidation.

Wood Substrates:

Scrape and clean knots and apply coat of knot sealer before applying primer.

Sand surfaces that will be exposed to view and dust off.

Prime edges, ends, faces, undersides, and backsides of wood.

After priming, fill holes and imperfections in the finish surfaces with putty or plastic wood filler.  Sand smooth when dried.

Cotton or Canvas Insulation Covering Substrates:  Remove dust, dirt, and other foreign material that might impair bond of paints to substrates.

APPLICATION

Apply paints according to manufacturer's written instructions.

If Project requires restricted application method (e.g., using only spray or rollers), revise first subparagraph below accordingly.

Use applicators and techniques suited for paint and substrate indicated.

Paint surfaces behind movable equipment and furniture same as similar exposed surfaces.  Before final installation, paint surfaces behind permanently fixed equipment or furniture with prime coat only.

Paint front and backsides of access panels, removable or hinged covers, and similar hinged items to match exposed surfaces.

Do not paint over labels of independent testing agencies or equipment name, identification, performance rating, or nomenclature plates.

Primers specified in painting schedules may be omitted on items that are factory primed or factory finished if acceptable to topcoat manufacturers.

If tinting is not required, delete first paragraph below.  Different tints show through as topcoat erodes.

Tint each undercoat to a lighter shade of the finish coat (not to exceed 2 ounces of colorant) to facilitate identification of each coat if multiple coats of same material are to be applied.

If undercoats or other conditions show through topcoat, apply additional coats until cured film has a uniform paint finish, color, and appearance.

Apply paints to produce surface films without cloudiness, spotting, holidays, laps, brush marks, roller tracking, runs, sags, ropiness, or other surface imperfections.  Cut in sharp lines and color breaks.

Delete the following Paragraph if there is no CMU to be painted.

Block Fillers: Provide block fill as scheduled to conform to the following PDCA Standard P12-05:

Level 3 - Premium Fill:  One or multiple coats of high performance block filler manufactured to be applied at a high dry film build.  Block filler shall be back-rolled to eliminate voids and reduce the majority of the masonry profile depth.

Painting Fire Suppression, Plumbing, HVAC, Electrical, Communication, and Electronic Safety and Security Work:

Paint the following work where exposed in equipment rooms:

List below contains items that are often field painted, plus others that are often not.  Revise list to suit Project.

Equipment, including panelboards and switch gear.

Uninsulated metal piping.

Uninsulated plastic piping.

Pipe hangers and supports.

Metal conduit.

Plastic conduit.

Tanks that do not have factory-applied final finishes.

Duct, equipment, and pipe insulation having cotton or canvas insulation covering or other paintable jacket material.

Other items as directed by the Architect.

Paint the following work where exposed in occupied spaces:

List below contains items that are usually field painted.  Revise list to suit Project.

Equipment, including panelboards.

Uninsulated metal piping.

Uninsulated plastic piping.

Pipe hangers and supports.

Metal conduit.

Plastic conduit.

Duct, equipment, and pipe insulation having cotton or canvas insulation covering or other paintable jacket material.

Other items as directed by the Architect.

Paint portions of internal surfaces of metal ducts, without liner, behind air inlets and outlets that are visible from occupied spaces.

FIELD QUALITY CONTROL

Dry Film Thickness Testing:  Owner may engage the services of a qualified testing and inspecting agency to inspect and test paint for dry film thickness.

Contractor shall touch up and restore painted surfaces damaged by testing.

If test results show that dry film thickness of applied paint does not comply with paint manufacturer's written recommendations, Contractor shall pay for testing and apply additional coats as needed to provide dry film thickness that complies with paint manufacturer's written recommendations.

CLEANING AND PROTECTION

At end of each workday, remove rubbish, empty cans, rags, and other discarded materials from Project site.

After completing paint application, clean spattered surfaces.  Remove spattered paints by washing, scraping, or other methods.  Do not scratch or damage adjacent finished surfaces.

Protect work of other trades against damage from paint application.  Correct damage to work of other trades by cleaning, repairing, replacing, and refinishing, as approved by the Architect, and leave in an undamaged condition.

At completion of construction activities of other trades, touch up and restore damaged or defaced painted surfaces.

INTERIOR PAINTING SCHEDULE

Paint systems in this article are based on "MPI Manual."  For renovation projects, consult "MPI Maintenance Repainting Manual" and revise paint systems accordingly.

Concrete Substrates, Nontraffic Surfaces:

Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, alkali resistant, waterbased, interior/exterior Dunn-Edwards, Eff-Stop Select ESSL00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Spartazero SZRO10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Spartawall SWLL20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Spartawall SWLL30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, low sheen, Dunn-Edwards, Spartawall SWLL40, (Gloss Level 4).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Spartawall SWLL50, (Gloss Level 5).

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 3.1M.

Retain the following subparagraph where an Institutional Low-Odor/VOC System is desired.

2.		Ultra-Retain the following paragraph where a Premium Institutional Low-Odor/VOC System is desired.

Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, alkali resistant, waterbased, interior/exterior, Dunn-Edwards, Eff-Stop Premium ESPR00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Everest EVER10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Everest EVER20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Everest EVER30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Everest EVER50, (Gloss Level 5).

Use the following paragraph where a Premium Architectural Coating is desired.

"Alkyd System" Subparagraph below corresponds to MPI INT 3.1D.

Pre-Catalyzed Waterbased Epoxy over a Latex Primer System:

Prime Coat:  Primer, alkali resistant, waterbased, interior/exterior, Dunn-Edwards, Eff-Stop Premium ESPR00.

Intermediate Coat:  Pre-catalyzed waterbased epoxy, interior, matching topcoat.

Topcoat:  Pre-catalyzed waterbased epoxy, interior, semi-gloss, Dunn-Edwards, Enduracat ENPX50, (Gloss Level 5).

For specific recommendations based on project requirements please contact your Dunn-Edwards Architectural Representative or http://dunnedwards.com/ArchitectsDesigners/ContactUs.aspx

Clay-Masonry Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 4.1A.

Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, alkali resistant, waterbased, interior/exterior Dunn-Edwards, Eff-Stop Select ESSL00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Spartazero SZRO10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Spartawall SWLL20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Spartawall SWLL30, (Gloss Level 3)

Or

Topcoat:  Latex, interior, low sheen, Dunn-Edwards, Spartawall SWLL40, (Gloss Level 4).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Spartawall SWLL50, (Gloss Level 5).

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 4.1M.

Retain the following paragraph where an Institutional Low-Odor/VOC System is desired.

2.	Retain the following paragraph where a Premium Institutional Low-Odor/VOC System is desired.

Ultra-Retain the following paragraph where a Premium Institutional Low-Odor/VOC System is desired.

Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, alkali resistant, waterbased, interior/exterior, Dunn-Edwards, Eff-Stop Premium ESPR00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Everest EVER10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Everest EVER20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Everest EVER30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Everest EVER50, (Gloss Level 5).

Use the following where a Premium Architectural Coating is desired.

Pre-Catalyzed Waterbased Epoxy over a Latex Primer System:

Prime Coat:  Primer, alkali resistant, waterbased, Dunn-Edwards, Eff-Stop Premium ESPR00.

Intermediate Coat:  Pre-catalyzed waterbased epoxy, interior, matching topcoat.

Topcoat:  Pre-catalyzed waterbased epoxy, interior, semi-gloss, Dunn-Edwards, Enduracat ENPX50, (Gloss Level 5).

CMU Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 4.2A.

Premium Low Odor/VOC Latex System:

Block Filler:  Block filler, latex, interior/exterior, Dunn-Edwards, Smooth Blocfil Select SBSL00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Spartazero SZRO10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Spartawall SWLL20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Spartawall SWLL30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, low sheen, Dunn-Edwards, Spartawall SWLL40, (Gloss Level 4).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Spartawall SWLL50, (Gloss Level 5).

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 4.2E.

Retain the following Paragraph where an Institutional Low-Odor/VOC System is desired.

2.		Retain the following Paragraph where a Premium Institutional Low-Odor/VOC System is desired.

Ultra-Retain the following paragraph where a Premium Institutional Low-Odor/VOC System is desired.

Premium Low Odor/VOC Latex System:

Block Filler: Block filler, latex, interior/exterior, Dunn-Edwards, Smooth Blocfil Select SBSL00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Everest EVER10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Everest EVER20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Everest EVER30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Everest EVER50, (Gloss Level 5).

Use the following Paragraph where a Premium Architectural Coating is desired.

Pre-Catalyzed Waterbased Epoxy over a Latex Block Filler System:

Block Filler:  Block filler, latex, interior/exterior, Dunn-Edwards, Smooth Blocfil Select SBSL00.

Intermediate Coat:  Pre-catalyzed waterbased epoxy, interior, matching topcoat.

Topcoat:  Pre-catalyzed waterbased epoxy, interior, semi-gloss, Dunn-Edwards, Enduracat ENPX50, (Gloss Level 5).

For areas subject to wetting, contact your Dunn-Edwards' Architectural Services Representative for project-specific recommendations.

Steel Substrates:

"Latex over Alkyd Primer System" Subparagraph below corresponds to MPI INT 5.1Q.

Premium Low Odor/VOC Latex over a Waterborne Alkyd Primer System:

Prime Coat:  Primer, rust inhibitive, waterborne alkyd, interior/exterior Dunn-Edwards, Bloc-Rust Premium BRPR00 Series.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Spartazero SZRO10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Spartawall SWLL20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Spartawall SWLL30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, low sheen, Dunn-Edwards, Spartawall SWLL40, (Gloss Level 4).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Spartawall SWLL50, (Gloss Level 5).

Waterbased Latex Dry Fall System:

Retain one of two "Top Coat" subparagraphs below.

Topcoat: Dry fall, waterbased, interior, flat, Dunn-Edwards, Aquafall AQUA10 (Gloss Level 1).

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 5.1S.

Retain the following paragraph where an Institutional Low-Odor/VOC System is desired.

3.		Ultra-Retain the following section where a Premium Institutional Low-Odor/VOC System is desired:

Premium Low Odor/VOC Latex over a Waterborne Alkyd Primer System:

Prime Coat:  Primer, rust inhibitive, waterborne alkyd, interior/exterior Dunn-Edwards, Bloc-Rust Premium BRPR00 Series.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Everest EVER10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Everest EVER20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Everest EVER30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Everest EVER50, (Gloss Level 5).

Retain the following paragraph where Premium Architectural Coating is desired.

"Alkyd System" Subparagraph below corresponds to MPI INT 5.1E.

Pre-Catalyzed Waterbased Epoxy over a Waterborne Alkyd Primer System:

Prime Coat:  Primer, rust inhibitive, waterborne alkyd, interior/exterior Dunn-Edwards, Bloc-Rust Premium BRPR00 Series.

Intermediate Coat:  Pre-catalyzed waterbased epoxy, interior, matching topcoat.

Topcoat:  Pre-catalyzed waterbased epoxy, interior, semi-gloss, Dunn-Edwards, Enduracat ENPX50, (Gloss Level 5).

"Aluminum Paint System" Subparagraph below corresponds to MPI INT 5.1M.

For specific recommendations based on project requirements please contact your Dunn-Edwards Architectural Representative or http://dunnedwards.com/ArchitectsDesigners/ContactUs.aspx

Galvanized-metal substrates should not be chromate passivated if primers are field applied.  If galvanized metal is chromate passivated, consult manufacturers for appropriate primers.

Galvanized Metal Substrates:

"Latex over Waterborne Primer System" Subparagraph below corresponds to MPI INT 5.3J.

Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, waterbased, interior/exterior, Dunn-Edwards, Ultra-Grip Select UGSL00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Spartazero SZRO10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Spartawall SWLL20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Spartawall SWLL30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, low sheen, Dunn-Edwards, Spartawall SWLL40, (Gloss Level 4).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Spartawall SWLL50, (Gloss Level 5).

"Water-Based Dry-Fall System" Subparagraph below corresponds to MPI INT 5.3H.

Water Based Dry Fall System:

Retain one of two "Topcoat" subparagraphs below.

Topcoat:  Dry fall, waterbased, interior, flat, Dunn-Edwards, Aquafall AQUA10 (Gloss Level 1).

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 5.3N.

Retain the following paragraph where an Institutional Low-Odor/VOC System is desired.

Retain the following paragraph where a Premium Institutional Low-Odor/VOC System is desired:

Ultra-Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, waterbased, interior/exterior, Dunn-Edwards, Ultra-Grip Premium UGPR00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Everest EVER10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Everest EVER20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Everest EVER30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Everest EVER50, (Gloss Level 5).

Pre-Catalyzed Waterbased Epoxy over a Latex Primer System:

Prime Coat:  Primer, waterbased, interior/exterior, Dunn-Edwards, Ultra-Grip Premium UGPR00.

Intermediate Coat:  Pre-catalyzed waterbased epoxy, interior, matching topcoat.

Topcoat:  Pre-catalyzed waterbased epoxy, interior, semi-gloss, Dunn-Edwards, Enduracat ENPX50, (Gloss Level 5).

Retain the following paragraph where a Premium Architectural Coating is required.

For specific recommendations based on project requirements please contact your Dunn-Edwards Architectural Representative or http://dunnedwards.com/ArchitectsDesigners/ContactUs.aspx

Aluminum (Not Anodized or Otherwise Coated) Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 5.4H.

Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, waterbased, interior/exterior, Dunn-Edwards, Ultra-Grip Select UGSL00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Spartawall SZRO10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Spartawall SWLL20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Spartawall SWLL30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, low sheen, Dunn-Edwards, Spartawall SWLL40, (Gloss Level 4).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Spartawall SWLL50, (Gloss Level 5).

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 5.4G.

Retain the following paragraph where an Institutional Low-Odor/VOC System is desired.

Retain the following section where a Premium Institutional Low-Odor/VOC System is desired:

Ultra-Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, waterbased, interior/exterior, Dunn-Edwards, Ultra-Grip Premium UGPR00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Everest EVER10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Everest EVER20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Everest EVER30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Everest EVER50, (Gloss Level 5).

Retain the following paragraph where a Premium Architectural Coating is required.

Pre-Catalyzed Waterbased Epoxy over a Latex Primer System:

Prime Coat:  Primer, waterbased, interior/exterior, Dunn-Edwards, Ultra-Grip Premium UGPR00.

Intermediate Coat:  Pre-catalyzed waterbased epoxy, interior, matching topcoat.

Topcoat:  Pre-catalyzed waterbased epoxy, interior, semi-gloss, Dunn-Edwards, Enduracat ENPX50, (Gloss Level 5).

"Aluminum Paint System" Subparagraph below corresponds to MPI INT 5.4D.

For specific recommendations based on project requirements contact your Dunn-Edwards Architectural representative or http://dunnedwards.com/ArchitectsDesigners/ContactUs.aspx

Wood Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 6.1M, MPI INT 6.2D, MPI INT 6.3T, and MPI INT 6.4R.

Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, waterbased, interior/exterior, Dunn-Edwards, Ultra-Grip Select UGSL00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Spartazero SZRO10, (Gloss Level 1).

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Spartawall SWLL20, (Gloss Level 2).

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Spartawall SWLL30, (Gloss Level 3).

Topcoat:  Latex, interior, low sheen, Dunn-Edwards, Spratawall SWLL40, (Gloss Level 4).

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Spartawall SWLL50, (Gloss Level 5).

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 6.1Q, MPI INT 6.2L, MPI INT 6.3V, and MPI INT 6.4T.

Retain the following paragraph where an Institutional Low-Odor/VOC System is desired.

Retain the following paragraph where a Premium Institutional Low-Odor/VOC System is desired.

Ultra-Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, waterbased, interior/exterior, Dunn-Edwards, Ultra-Grip Premium UGPR00.

Retain one of three "Topcoat" subparagraphs below.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Everest EVER10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Everest EVER20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Everest EVER30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Everest EVER50, (Gloss Level 5).

Pre-Catalyzed Waterbased Epoxy over a Latex Primer System:

Prime Coat:  Primer, waterbased, interior/exterior, Dunn-Edwards, Ultra-Grip Premium UGPR00.

Intermediate Coat:  Pre-catalyzed waterbased epoxy, interior, matching topcoat.

Topcoat:  Pre-catalyzed waterbased epoxy, interior, semi-gloss, Dunn-Edwards, Enduracat ENPX50, (Gloss Level 5).

Use the following paragraph where a Premium Architectural Coating is desired.

Gypsum Board Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 9.2A.

Premium Low Odor/VOC Latex System:

Prime Coat:  Primer sealer, latex, interior, Dunn-Edwards, Vinylastic Select VNSL00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Spartazero SZRO10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Spartawall SWLL20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Spartawall SWLL30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, low sheen, Dunn-Edwards, Spartawall SWLL40, (Gloss Level 4).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Spartawall SWLL50, (Gloss Level 5).

"Institutional Low-Odor/VOC Latex Primer System" Subparagraph below corresponds to MPI INT 9.2M.

Retain the following paragraph where an Institutional Low-Odor/VOC System is desired.

Retain the following section where a Premium Institutional Low-Odor/VOC System is desired.

Ultra-Premium Low Odor/VOC Latex System:

Prime Coat:  Primer sealer, latex, interior, Dunn-Edwards, Vinylastic Premium VNPR00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Everest EVER10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Everest EVER20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Everest EVER30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Everest EVER50, (Gloss Level 5).

Use the following where a Premium Architectural Coating is desired.

"Alkyd over Latex Primer System" Subparagraph below corresponds to MPI INT 9.2C.

Pre-Catalyzed Waterbased Epoxy Over a Latex Primer Sealer System:

Prime Coat:  Primer sealer, latex, interior, Dunn-Edwards, Vinylastic Premium VNPR00.

Intermediate Coat:  Pre-catalyzed waterbased epoxy, interior, matching topcoat.

Topcoat:  Pre-catalyzed waterbased epoxy, interior, semi-gloss, Dunn-Edwards, Enduracat ENPX50, (Gloss Level 5).

Plaster Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 9.2A.

Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, alkali resistant, waterbased, interior/exterior Dunn-Edwards, Eff-Stop Select ESSL00.

Intermediate Coat:  Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

            - Topcoat:  Latex, interior, flat, Dunn-Edwards, Spartazero SZRO10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Spartawall SWLL20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Spartawall SWLL30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, low sheen, Dunn-Edwards, Spartawall SWLL40, (Gloss Level 4).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Spartawall SWLL50, (Gloss Level 5).

"Institutional Low-Odor/VOC Latex Primer System" Subparagraph below corresponds to MPI INT 9.2M.

Retain the following section where an Institutional Low-Odor/VOC System is desired:

Retain the following section where a Premium Institutional Low-Odor/VOC System is desired:

Ultra-Premium Low Odor/VOC Latex System:

Prime Coat:  Primer, alkali resistant, waterbased, interior/exterior Dunn-Edwards, Eff-Stop Premium ESPR00.

Intermediate Coat:  Latex, interior, low odor/VOC, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

Topcoat:  Latex, interior, flat, Dunn-Edwards, Everest EVER10, (Gloss Level 1).

Or

Topcoat:  Latex, interior, velvet, Dunn-Edwards, Everest EVER20, (Gloss Level 2).

Or

Topcoat:  Latex, interior, eggshell, Dunn-Edwards, Everest EVER30, (Gloss Level 3).

Or

Topcoat:  Latex, interior, semi-gloss, Dunn-Edwards, Everest EVER50, (Gloss Level 5).

Use the following where a Premium Architectural Coating is desired.

"Alkyd over Latex Primer System" Subparagraph below corresponds to MPI INT 9.2C.

3.        Pre-Catalyzed Waterbased Epoxy Over a Latex Sealer System:

a.	Prime Coat:  Primer, alkali resistant, waterbased, interior/exterior, Dunn-Edwards, Eff-Stop     Premium ESPR00.

b.	Intermediate Coat:  Intermediate Coat:  Pre-catalyzed waterbased epoxy, interior, matching topcoat.

c.	Topcoat:  Pre-catalyzed waterbased epoxy, interior, semi-gloss, Dunn-Edwards, Enduracat ENPX50, (Gloss Level 5).

END OF SECTION 099123